영  문   규  격  서

COMMODITY DESCRIPTION

H.S. No.	Item No.	Description	Unit	Quantity
8479.82-1000		Vortex-Genie 2 Mixer	Set	1

Manufacturer:  Scientific Industries, Inc., U.S.A.

A. Feature:

1. The unit delivers true vortex action and now shaking, too.

2. It's mixing heads snap on and off to accommodate flasks, tubes, beakers, inserts        for up to 60 microcentrifuge or micro-tubes and most 96 well plates.

3. You can choose gentle to vigorous shaking or low to high speed vortex action to         achieve the required mix homogeneity for both viscosity and miscibility.

4. With accurate control of speed, position and intensity of mix, the operator using       the unit is able to easily reproduce results from one application to the next.

B. Specification:

1. G-560   Vortex-Genie 2 Mixer, 120V                  1 Ea

(includes a 3-inch platform and

a single cup head.)

- Electrical requirements:  120V, 60Hz, 500mA

- Dimensions:  15.6 x 12.1 x 16.5cm (LxWxH)

- Shipping weight:  10.5 Lbs

- Head mounting:  Quick-Change Snap On-Off

- Speed control:  Variable

- Operational modes:  Continuous/Touch

Accessories:

1) H-301   Multiple Sample Head Starter Set         1 Pk

includes:

- 6" Platform Head

- Insert for 60 Micro Tubes

- Insert for 96 Micro Well Plate

2) H-302   Large Sample Head Set                    1 Pk

includes:

- Recessed Platform Head

- Elastic Bands (2)

- Insert for  9-16mm Test Tubes

- Insert for 14-29mm Test Tubes

- Insert for 29-37mm Test Tubes

- Blank Insert