영  문   규  격  서

COMMODITY DESCRIPTION

H.S. No.	Item No.	Description	Unit	Quantity
8479.82-1000		The Belly Dancer Lab Shaker (Model BDRAA220S)	Set	1

Manufacturer:  Stovall Life Science, Inc., U.S.A.

A. Feature:

1. The unit was developed by a postdoctoral scientist to optimize washing

procedures for fragile gels. Designed originally as a reliable workhorse,

the motion was altered to provide the smooth undulation that makes

The Belly Dancer unique.

2. This light weight, heat controlled water bath, in combination with the Belly

Dancer's well known, gently Northern and Southern filter blot hybridizations,

electrophoretic gel manipulations, acceleration of protein gel destaining,

hot staining protocols and recombinant DNA technology.

B. Specification:

1. The Belly Danacer Lab Shaker, 220V                      1 Set

- Dimensions:  Base:     15" x 15" (38.10 x 38.10cm)

Platform: 12" x 12" (30.48 x 30.48cm)

- Speed: 0 - 125 rpm

- Maximum Recommended Load: 20 Lbs

- Ambient Temperature Range: 0 to 40℃

- Weight: 16 Lbs